GLOBALEMED, LLC.

1101 King Street   Suite 370  Alexandria, VA  22314

Telephone Number:  (703) 894-0710    Fax Number: (703) 894-0725

CERTIFICATE OF ANALYSIS

 HIV 1&2 TEST (SMART CHECK® HIV 1&2)
	PRODUCT NAME:
	HIV 1/2 Rapid Human Immunodeficiency Virus Test Device (Whole Blood/Serum/Plasma)

	BATCH NO.:
	HIV20804

	EXPIRATION DATE:
	08-2004

	QUANTITY:
	100pcs


	ANALYSIS
	TEST RESULT
	ASSAY TIME

	SENSITIVITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

10 Positive Specimens
	Positive
	15 minutes

	SPECIFICITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

20 Negative Specimens
	Negative
	20 minutes


QA/QC Manager:      Luz Restrepo, MT      
                1101 King Street

                            Suite 370 

         Alexandria, VA 22314

             Phone: 703-894-0710 

                 Fax: 703-894-0725

Date:        2002/11/12              

GLOBALEMED, LLC.

1101 King Street   Suite 370  Alexandria, VA  22314

Telephone Number:  (703) 894-0710    Fax Number: (703) 894-0725

CERTIFICATE OF ANALYSIS

 HIV 1&2 TEST (SMART CHECK® HIV 1&2)
	PRODUCT NAME:
	HIV 1/2 Rapid Human Immunodeficiency Virus Test Device (Whole Blood/Serum/Plasma)

	BATCH NO.:
	HIV20804

	EXPIRATION DATE:
	08-2004

	QUANTITY:
	100pcs


	ANALYSIS
	TEST RESULT
	ASSAY TIME

	SENSITIVITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

10 Positive Specimens
	Positive
	15 minutes

	SPECIFICITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

20 Negative Specimens
	Negative
	20 minutes


QA/QC Manager:       Luz Restrepo, MT    
                1101 King Street

                            Suite 370 

         Alexandria, VA 22314

             Phone: 703-894-0710 

                 Fax: 703-894-0725        

Date:        2002/11/12              

GLOBALEMED, LLC.

1101 King Street   Suite 370  Alexandria, VA  22314

Telephone Number:  (703) 894-0710    Fax Number: (703) 894-0725

CERTIFICATE OF ANALYSIS

 HIV 1&2 TEST (SMART CHECK® HIV 1&2)
	PRODUCT NAME:
	HIV 1/2 Rapid Human Immunodeficiency Virus Test Device (Whole Blood/Serum/Plasma)

	BATCH NO.:
	HIV20804

	EXPIRATION DATE:
	08-2004

	QUANTITY:
	100pcs


	ANALYSIS
	TEST RESULT
	ASSAY TIME

	SENSITIVITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

10 Positive Specimens
	Positive
	15 minutes

	SPECIFICITY
	Confirmed by EIA test or Western blots
	
	

	
	SERUM /PLASMA

20 Negative Specimens
	Negative
	20 minutes


QA/QC Manager:           Luz Restrepo, MT

                1101 King Street

                            Suite 370 

         Alexandria, VA 22314

             Phone: 703-894-0710 

                 Fax: 703-894-0725        

Date:        2002/11/12              





















