GLOBALEMED, LLC.

1101 King Street   Suite 370  Alexandria, VA  22314

Telephone Number:  (703) 894-0710    Fax Number: (703) 894-0725

PRODUCT SPECIFICATIONS

HIV 1&2 TEST (SMART CHECK® HIV 1&2)

1. Use:  Visual detection of antibodies against HIV in whole blood, serum and plasma.  In vitro, qualitative and immunochromatographic assay

2. Package size:  One box contains 25 individual tests along with 1 bottle of buffer.  That amount of buffer is enough for the above number of tests.  Within the same box an insert for the technique is included*

* The insert may be subject to modifications for certain lot number.  That is because our products are constantly subjected to improvement.  Please review the insert every time you receive a new shipment.

3. Active ingredients:  each test contains: 

Recombinant human HIV 1&2 antigens, 65 g/test*

Monoclonal anti-human antibodies colloidal gold conjugate, 10 g/test

Buffer contents:  Distilled water, BSA, detergents and monoclonal anti-human antibodies 25 g/ 100 l

4. Storage:  +6’C  to 30’C

5.   Expire date:  18 months from the date of manufacturing

6.  Contents:  Plastic Cassette with nitrocellulose membrane containing HIV 1 and 2 antigens, desiccant, bottle of buffer and manual insert; these ones are not harmful to animals nor humans.  For In Vitro Use only.  Do not swallow nor ingest the desiccant nor the buffer

GLOBALEMED, LLC.

1101 King Street, Suite 370

Alexandria, VA  22314 USA

