GLOBALEMED, LLC


[image: image1.wmf]Smart Check HIV 1 & 2 Rapid Test Device

 

 

Catalog # 06021004

 

Quick Steps

 

Step 1)

 

 

Remove the test device 

from the pouch prior to 

performing the assay.

 

Label the device with 

patient identification.

 

Your device should look like this.

 

Step 2)

 

 

Using the capillary tube, 

add approximately one 

drop of whole blood, 

plasma or serum by 

touching the sample well 

pad wi

th the sample.

 

Step 3)

 

 

Immediately add three 

drops of the Developer 

Solution to the sample 

well using the dropper 

bottle.

 

 

 

 

 

 

 

Step 4)

 

 

Now just wait 2 to 3 

minutes for results to 

appear.

 


[image: image2.wmf] 

Positive Results

 

This is marked by the 

presence of two lines, 

a control and a test 

line.

 

 

Negative Results

 

Invalid Results

 

 

This is marked by the 

presence of no line in 

either control or test 

line.

 

N

otes:

 

1.

This test must be used for screening only.

 

2.

False positive results may occur when the patient has autoimmune di

s-

eases like: Systemic Lupus Erithematosus.

 

3.

Any positive result must be re

-

tested with an ELISA or confirmed with a 

Western Blot Method.

 

Proper Interpretation of Results

 

Smart Check HIV 1 & 2 Rapid Cassette

 

 

Catalog # 06021004

 

GLOBALEMED, LLC.

 

1101 King Street,  Suite # 370

 

Alexandria, VA 22314  USA

 

Phone: (703) 894

-

0710

 

Fax:       (703) 894

-

0725

 

This is marked by the 

presence of one line, 

a control line.

 


