


            GLOBALEMED, LLC.





  1101 King Street, Suite 370





 Alexandria, Virginia 22314




          Tel: (703) 894-0710 / Fax: (703) 894-0725

Dear Sir,

We understand that you may have questions about the use and registration of HIV and Hepatitis Rapid tests and ELISA tests in your country, and we will try to clarify the situation and authorization process required to assist you and your company with this effort.


HIV and Hepatitis diagnostic tests (EIA and rapid test formats) are classified by the US FDA (Center for Devices and Radiological Health) as Class III devices.  Although these tests are used as in-vitro devices (versus in-vivo), tests classified within this Class III are more highly restricted and regulated by the FDA since their use and subsequent results can have life threatening consequences to the patient. 

              For instance, currently there are no HIV rapid tests approved for sale in the USA territory.  That does not mean the rapid tests are bad? Not at all, in fact the FDA issues Certificate for Exportability for such devices even though they are not for sale in the USA.  GLOBALEMED, LLC. has FDA Certificates of Exportability for these Class III devices. The rapid HIV tests must be very sensitive – as sensitive as the ELISA tests; the difference between an ELISA test and a rapid test is that the first one is quantitative and the second one is qualitative.  That is why the rapid HIV and Hepatitis tests are used for screening purposes.


As I mentioned before, the rapid HIV and Hepatitis tests must be as sensitive as the ELISA tests for instance, you cannot afford to have false negative results.  But, how about false-positive results?  Yes, you might have false positive results, that is, having a positive result in a patient who is not positive. In the case of HIV detection, the reason for that is that some patients have autoimmune diseases, hyper-proteinemias, or hyper-gammaglobulinemias that render big amount of non-specific antibodies that stick to the membrane.  That is the reason why the FDA does not allow the HIV rapid tests for sale in the market; they fear –and have reasons for that- that someone not experienced might base their diagnosis on the results of a rapid test alone. To make myself clearer, every positive result rendered by a rapid HIV tests must always be confirmed with an ELISA test; if just one is positive, you must confirm your results with a Western Blot test  (this is a requirement within the WHO guidelines).


Currently many countries are using HIV and Hepatitis rapid tests and you may wonder how is that possible?  To answer this question you may want to look at the following manuscripts issues by the FDA:  “Exporting Medical Devices”  (http://www.fda.gov/cdrh/devadvice/39.html ) and  “Regulation of Medical Devices:  Background Information for International Officials”  (http://www.fda.gov/cdrh/manual/ireas.html).  In brief, this is a summary contained in both manuscripts that might be of use to you:

1. HIV and/or Hepatitis rapid tests can be imported into your country

2. The easiest way to import HIV and/or Hepatitis rapid devices is through a program via “Tier-1 Countries.”

Can you explain to me the significance of “Tier-1 countries?  There are countries classified by the FDA as Tier-1 countries, meaning that those countries have a very good health system and, for instance, the FDA trusts their Health Ministry.  GLOBALEMED’s rapid HIV and Hepatitis devices have been approved for sale in one of those Tier-1 countries (South Africa), so any other country can get a certificate for export –meaning import and sale of GLOBALEMED’s rapid HIV and/or Hepatitis device - from the FDA for this specific product.  These are the steps to follow:

1. GLOBALEMED will provide you with a copy of approval for sale in South Africa for the HIV and/or Hepatitis rapid device as well as a certified copy of  our FDA Certificate of Exportability (COE 802) for these tests. You have to go to the health ministry of your country, show them the copy GLOBALEMED provided to you and they will:

a. Accept GLOBALEMED’s copy and issue a letter stating that: i) the device is not in conflict with the laws of your country to import, ii) your Government (health ministry) has full knowledge of the status of the health device in the US, and iii) the import of the HIV and/or Hepatitis rapid device is permitted or not objected.  

b. They will probably want to test the rapid device in their government health ministry facilities (run a comparative study or a clinical assay, etc); for that matter they will most likely need 200-300 devices.  Once the study is completed, your government’s minister of health will realize that GLOBALEMED’s HIV and Hepatitis rapid tests are excellent (already documented).  Then they will issue a letter stating that your minister of health found our HIV rapid devices with the sensitivity and specificity they require.  You will have to ask for an extra-letter stating that: i) the device is not in conflict with the laws of your country to import, ii) your Government (health ministry) has full knowledge of the status of the health device in the US, and iii) the import of the HIV and/or Hepatitis rapid device is permitted or not objected.  

c. You will have to send to GLOBALEMED the originals, or certified apostil led letters; we will notify the FDA of your country’s acceptance letter and after this action is taken, GLOBALEMED will be authorized to begin shipping these devices into your country based on the provisions provided by the FDA under section 802(g) of the export rules for Class 3 medical devices.

Sir, we hope the above explanation is clear enough for you and that this explanation will help you to establish a fruitful business relationship with us at GLOBALEMED, LLC.  

Yours truly,

Ken Peters

President

GLOBALEMED, LLC.

