[image: image1.png]UGANDA VIRUS RESEARCH
INSTITUTE

P. 0. BOX 49, ENTEBBE (U)

Tol: (256) 41 - 331743

Fax: (256) 43 - 320483 TrE REPLELL OF URANGA
T-mall hbicvabwabaf yabogLo.k
publ @cdc.znr

.
Our Ref; covcverenrnacece

Your Rel: ..couvvvvneene. Date: 17* December 2001
The Executive Director
National Drug Authomy
Buganda Road
Kampala
SUBJECT: EVALUATION REPORT FOR SMARTCHECK HIV 142 AND
.~ SMARTCHECK SYPHILIS RFR

The World Diagnostics Inc. of Mian, USA presented 200 tests of Smart-Check HIV
1+2 and Smart Check Syphilis RPR for incountry evaluation. These two diagnostic
kits were compared with the respective standard algorithm and the findings were
satisfactory for all parameters assessed.

1 would recommend the products as suitable for Uganda.

Yours Faithfully

%LLL

Biryashwaho
Refercuce & Quality Assurance Lab, UVRI

CC: Director General, Uganda AIDS Comumuission
w3 World Diagnostics Inc., Miami, USA




